## Slide 1: IOL EDITION

## Slide 2: Panel
Monofocals
Monofocals?
Multifocals
Edof
Icls and acs
Principles
$200
$400
$600
$800
$1000
$200
$400
$600
$800
$1000
$200
$400
$600
$800
$1000
$200
$400
$600
$800
$1000
$200
$400
$600
$800
$1000
$200
$400
$600
$800
$1000

## Slide 3: Some say “natural”, others say “yellow”; this Acrysof lens is the tinted version of SA60WF
Monofocals· $200
Advance Slide for Answer

## Slide 4: SN60WF
Monofocals· $200

## Slide 5: The Polyvinylidene Fluoride (PVDF) haptics of this 3-piece IOL are more tolerant to manipulation than PMMA haptics
Monofocals · $400
Advance Slide for Answer

## Slide 6: CT LUCIA 202/602 (spheric/aspheric)
Monofocals · $400

## Slide 7: Named for the unpolished haptic, this Tecnis model resulted in better Toric outcomes than its precusor
Monofocals · $600
Advance Slide for Answer

## Slide 8: ZCUx
Monofocals · $600

## Slide 9: DCB00 is to ZCB00 as _ is to MX60E
Monofocals · $800
Advance Slide for Answer

## Slide 10: MX60PL (enVista Preload)
Monofocals · $800

## Slide 11: The two major meniscus (minus) PCIOLS
Monofocals · $1000
Advance Slide for Answer

## Slide 12: Sensar (J&J): AR40M Expand (Acrysof): MA60MA
Monofocals · $1000

## Slide 13: This Tecnis monofocal IOL uses EDOF technology to improve depth of focus but it doesn’t quite qualify as a full EDOF lens by FDA standards
Monofocals? · $200
Advance Slide for Answer

## Slide 14: Eyehance (Tecnis): DIB00
Monofocals? · $200

## Slide 15: Refractive miss? Not any more, this silicone lens can change powers with UV light
Monofocals? · $400
Advance Slide for Answer

## Slide 16: Light Adjustable Lens (RxSight): RxLAL
Monofocals? · $400

## Slide 17: This nonfoldable PMMA is great for open sky cases, eyelets are included
Monofocals? · $600
Advance Slide for Answer

## Slide 18: CZ70BD (Alcon)
Monofocals? · $600

## Slide 19: Used in Microincision Cataract Surgery, this lens can be injected through a 1.8mm wound
Monofocals? · $800
Advance Slide for Answer

## Slide 20: Akreos MICS (B&L): MI60P
Monofocals? · $800

## Slide 21: A new German IOL, this monofocal has a defocus curve similar to that of Tecnis Eyhance
Monofocals? · $1000
Advance Slide for Answer

## Slide 22: RayOne EMV (Rayner): RAO200E
Monofocals? · $1000

## Slide 23: A bifocal with posterior diffractive rings
Multifocals · $200
Advance Slide for Answer

## Slide 24: Tecnis Multifocal (Tecnis): ZMB00 ZLU𝑥 (toric)
Multifocals · $200

## Slide 25: While not truly multifocal, this lens was meant to accommodate and provide usable near vision
Multifocals · $400
Advance Slide for Answer

## Slide 26: Crystalens/TruLign Toric (B&L): AO1UV BL1UT (toric)
Multifocals · $400

## Slide 27: The only true trifocal on the market
Multifocals · $600
Advance Slide for Answer

## Slide 28: Panoptix (Alcon): FAT00/TFNT00 TFAT𝑥/TFNT𝑥 (toric) CCWTT0/𝑥 (Clarion)
Multifocals · $600

## Slide 29: The Synergy (Tecnis) IOL uses diffractive multifocal optics for the _ portions of vision
Multifocals · $800
Advance Slide for Answer

## Slide 30: Distance
Multifocals · $800

## Slide 31: While rarely used, this is the last premium lens with anterior rings
Multifocals · $1000
Advance Slide for Answer

## Slide 32: ReSTOR (Alcon): MN6AD1
Multifocals · $1000

## Slide 33: This not-quite EDOF Tecnis monofocal has the model number _ for Torics
EDOF · $200
Advance Slide for Answer

## Slide 34: Eyhance (Tecnis): DIUx
EDOF · $200

## Slide 35: This IOL has elements of EDOF and diffractive multifocal technology
EDOF · $400
Advance Slide for Answer

## Slide 36: Synergy (Tecnis): DFR00V DFW𝑥 (toric)
EDOF · $400

## Slide 37: The claim to fame of this IOL is use of proprietary non-diffractive “X-Wave technology”
EDOF · $600
Advance Slide for Answer

## Slide 38: Vivity (Alcon): DFT015/DFT𝑥 CCWET0/𝑥 (Clareon)
EDOF · $600

## Slide 39: The Synergy (Tecnis) IOL uses EDOF optics for the _ portions of vision
EDOF · $800
Advance Slide for Answer

## Slide 40: Near and intermediate
EDOF · $800

## Slide 41: This EDOF lens blocks 360-460 nm in attempt to reduce dysphotopsias
EDOF · $1000
Advance Slide for Answer

## Slide 42: Symfony (Tecnis): ZXR00 ZXT𝑥 (toric
EDOF · $1000

## Slide 43: This PC IOL vaults over the natural crystalline lens
ICLs and ACs · $200
Advance Slide for Answer

## Slide 44: VISIAN ICL (STAAR): MICL𝑥
ICLs and ACs · $200

## Slide 45: The two major aphakic AC IOLs
ICLs and ACs · $400
Advance Slide for Answer

## Slide 46: S122UV/L122UV (B&L) and MTA𝑥U0 (Alcon)
ICLs and ACs · $400

## Slide 47: This phakic IOL attaches to the iris by “enclavation”
ICLs and ACs · $600
Advance Slide for Answer

## Slide 48: Verisyse (J&J): VRSM5US
ICLs and ACs · $600

## Slide 49: An ICL must be vaulted _ (distance) over the natural crystalline lens
ICLs and ACs · $800
Advance Slide for Answer

## Slide 50: 1.0 ± 0.5 K thicknesses
ICLs and ACs · $800

## Slide 51: The EVO ICL (STAAR) has a _ µm central port to eliminate need for LPIs
ICLs and ACs · $1000
Advance Slide for Answer

## Slide 52: 360 µm
ICLs and ACs · $1000

## Slide 53: Most acrylic lenses are this to minimize calcifications, there is one major exception
Principles · $200
Advance Slide for Answer

## Slide 54: Hydrophobic, Rayner lenses are Hydrophillic Acrylic
Principles · $200

## Slide 55: Most multifocal and EDOF lenses rely on this kind of optics
Principles · $400
Advance Slide for Answer

## Slide 56: Diffractive
Principles · $400

## Slide 57: Most of this manufacturer’s IOLs are “aberration free” and do not introduce spherical aberration correction into the eye’s optical system
Principles · $600
Advance Slide for Answer

## Slide 58: B&L
Principles · $600

## Slide 59: The average spherical aberration of the cornea
Principles · $800
Advance Slide for Answer

## Slide 60: + 0.27 μm
Principles · $800

## Slide 61: The spherical aberration correction for Tecnis and Acrysof respectively
Principles · $1000
Advance Slide for Answer

## Slide 62: -0.27 μm and -0.20 μm
Principles · $1000

## Slide 63
Winner!